MODEL IRRIGATION DISTRICT 2024 ANNUAL WATER QUALITY DATA REPORT

Listed below are the drinking water contaminants that we detected during the 2024 calendar year. The presence of any contaminant in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done January 1-December 31, 2024. The state requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. Any Questions 926-5759-Rick Neal Manager

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Parameter** | **Exceed**  **MCL** | **Exceed**  **MCLG** | **Level Detected** | **Likely Source of Contamination** |
| **Microbiology**  247 tests taken during the year at all well sites & sample stations.  Total Coliform Bacteria  Fecal Coliform and E. Coli | NO  NO | NO  NO | All tests satisfactory. | Naturally present in the environment, and from industrial or domestic wastewater discharges, mining or farming and livestock productions. |
| **Inorganic Chemicals**  As required. IOCs per well site  Herbicides, Pesticides  Nitrate All Satisfactory, tested annually. | NO  NO  NO | NO  NO  NO | All tests below MCL.  All test - Normal | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits. |
| **Synthetic Organic Compounds**  As required Tested for SOC’s per well site | NO | NO | All results – N/D (None Detected within the sensitivity of the instrument. | By product of industrial processes & petroleum production, leaking petroleum storage tanks, cleaning. |
| **Volatile Organic Compounds**  As required All wells tested for VOC’s. | NO | NO | None Detected | Solvent spills/discharges into storm drains or sewers. |
| **Lead and Copper**  19 homes good waiting on 1,,6/27/25 | NO | NO | In Compliance with state and federal guidelines | Leaching from metal water pipes and fittings. |
| **PFAS and PFOA Quarterly 2024-2025** | NO | NO | In Compliance with state and federal guidelines. | Industrial |

**TERMS AND ABBREVIATIONS**

* **ND**: *non detectable at testing limit*
* ***pCi/l:*** *picocuries per liter*
* **Maximum Contaminant Level (MCL):** the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.
* **Maximum Contaminant Level Goal (MCLG):** the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.
* **Action Level (AL):** the concentration of a contaminant which, when exceeded, triggers treatment or other requirements which a water system must follow.
* **Turbidity:** a single day or series of consecutive days, when one or more turbidity measurement each day exceeds 5 NTU (nephelometric turbidity unit). Indicates possible microbiological excess.